Role of size and imput current to current density on top of cortex

form study :What does the ratio of injected current to electrode area tell us about current density in the brain	during tDCS?

When the current injected into an electrode was doubled, then the current density distribution remained the same but its magnitude is doubled everywhere in the conducting volume, independently of electrode size

- counted current density on electrode is 28uA/cm2
- look to current didtribution on the electrode and the cortex

- current density at the target point, on the brain surface under the center of the stimulation electrode
- electrode area was decreased and the injected current adjusted so as to keep I/A constant and equal to 1/35 mA/cm2 (solid line).
- The expectation, according to the constant I/A rule, was that the current density at the target point would remain constant and equal to its value for I = 1 mA and A = 35 cm2, which in this model was 0.0087 mA/cm2 (dotted line). In fact, the current density dropped to 85% and 22 % of this reference value as the electrode area was decreased from 35 cm2 to 25 cm2 and 3.5 cm2, respectively.

variation of the current density at the target point under the reference electrode as the electrode area was increased, and the injected current was kept fixed at 1 mA (solid line). Since the current intensity was kept constant, the expectation was that the current density at the target point would decrease linearly with 1/A (dotted line). The decrease was slower than predicted: when the electrode area was increased from 35 cm2 (1/A = 0.029 cm−2) to 100 cm2, (1/A = 0.010 cm−2) the current density was calculated to decrease by a factor of 0.43 only, instead of 0.35. In both plots, the data-point represented by a larger circle corresponds to the standard configuration: a current intensity of 1 mA and two 35 cm2 electrodes.

shows how the current injected into the stimulation electrode had to be adjusted as a function of electrode area in order to achieve a constant current density at the target point (solid line). The expected behavior was that the required current would decrease linearly with electrode area (dotted line). According to these calculations, more current than that predicted by the I/A ratio has to be injected into electrodes smaller than 35 cm2 in order to guarantee a constant current density in the brain. To a good approximation, points on the solid curve can be calculated using the equation I = 6.00×10−6 A3 −4.61×10−4 A2 + 2.69×10−2 A + 0.366, where I is the current in mA and A is the electrode area in cm2 and the 4 constants have units of mA /cm6, mA /cm4, mA /cm2, and mA respectively.

However, when considering a target point at a fixed depth below the electrode, the current density at that point was not constant as the electrode area was varied and the injected current adjusted so as to keep the I/A ratio constant. In general, the current density at a fixed depth below the centre of the electrode will always be less for a smaller electrode when the I/A ratio is kept constant.

The I/A ratio will systematically overestimate the current density in the brain when used to compute current values for smaller electrodes and underestimate it when applied to larger electrodes. In other words, for a constant current density at a target point in the brain more current should be injected into smaller electrodes and less current into larger electrodes than predicted by the I/A ratio. This difference is less pronounced for larger electrodes than for smaller ones, which suggests that increasing electrode size may indeed be a practical way to render the reference electrode functionally ineffective

 The accuracy of these data is limited by several assumptions that were built into the model, such as the layered spherical geometry and the conductivity values used. However, since we are only calculating ratios (e.g., by what factor should the current be reduced when the electrode area is halved) as opposed to absolute values (e.g., what is the current density value at the target point), the results should not depend too strongly on those assumptions

The use of more realistic head models based on MR images will provide more accurate I–A curves, which may even be subject-specific. An additional advantage of having realistic head models where the inner and outer cortical surfaces are faithfully represented is that the effect of the orientation of neural cells relative to the applied electric field can be taken into account, since the orientation of these cells is known be predominantly either perpendicular or parallel to the cortical surfaces